### Product Specifications: RemotePoint Pro™

#### Overview

The RemotePoint Pro™ is a state-of-the-art solution designed for Air Sampling Smoke Detection (ASD) systems. Engineered for efficiency and reliability, it integrates advanced technology to enhance fire safety monitoring and management.

#### Specifications

- Product Name: RemotePoint Pro™

- Type: Air Sampling Smoke Detection (ASD) Component

#### Key Features

- Compatibility:

  - Designed to work seamlessly with 1/2” OD flexible capillary tubing and ASD pipe networks.

- Construction:

  - Made from durable, flame-retardant thermoplastics to ensure longevity and performance.

  - Resistant to chemicals, corrosion, and extreme temperatures ranging from -4°F to 176°F.

- Connection Design:

  - Features a straightforward push-to-connect design that ensures a reliable, leak-free connection.

  - Simplifies installation by eliminating the need for multi-piece fittings.

- Integrated Technology:

  - Equipped with an NFC chip that securely stores critical information, including:

    - Unique serial number

    - Associated detector and location

    - Commissioning benchmark data

    - Subsequent inspection and test data

  - Data is permanently stored and protected from unauthorized deletion.

- Ease of Use:

  - Quick installation process: Simply screw the fitting into a 1/2” FNPT threaded pipe tee, cut the capillary tube to length, and insert it to complete the connection.

  - Capillary tubing can be easily removed once inserted, offering flexibility during maintenance.

- Labeling:

  - Comes with a waterproof, self-adhesive label made of durable PET material.

  - The label is resistant to chemicals and features:

    - NFC identifier indicating NFC capability

    - Part number

    - QR code containing a unique serial number for tracking and management

    - Embossed warnings to indicate that the unit is part of a fire detection system and to avoid painting.

#### Performance Ratings

- Operating Pressure:

  - 0 to 145 PSI (0-10 Bar)

- Vacuum Rating:

  - -30 PSI (-2 Bar)